MR660 PC Application Overview

By: G. Chopcinski, Kg Solutions, LLC

Date: April 1, 2022 Supports V1.5.7

## Splash screen

|  |  |
| --- | --- |
|  | This screen is displayed when powering up the MR660. |

## Standby screen

|  |  |
| --- | --- |
|  | This screen is displayed when the MR660 has not detected a Mouthpiece aperture operation or the Play/Pause button has not been used within the last 30 minutes. |

## Mouthpiece processing screens

|  |  |
| --- | --- |
|  | This screen instructs the user to Insert the Mouthpiece. |
|  | This screen indicates that the Mouthpiece (electronics) is being read by the MR660.  This screen should be displayed briefly. |
|  | This screen indicates that the Mouthpiece has been read correctly and is prompting the User to verify the correct Serial Number.  If this screen is displayed then the Mouthpiece information from the electronics (EEPROM) is valid AND the Mouthpiece has not been used in a completed Therapy within the last 12 hours AND the number of Mouthpieces uses is less than the Life-Usage. |
|  | This screen is displayed when the User has accepted the above-mentioned Mouthpiece Serial Number screen and the Patient is ready to start Therapy. |

|  |  |
| --- | --- |
|  | This Display appears after machine shuts down during operation and the patient is going through the steps to resume therapy again. |

## Therapy screens

|  |  |  |
| --- | --- | --- |
|  | | These screens are displayed during Therapy.  The green and white ticks depict the remaining seconds and the number indicates the number of minutes remaining of the Therapy. |
|  | |  |
|  | | Indicates Therapy completion. |
|  | This screen is displayed when the Play/Pause button is pressed during Therapy. | |

## Error Conditions

|  |  |
| --- | --- |
|  | This screen is displayed if the Mouthpiece electronics cannot be read properly.  This can occur while first processing the Mouthpiece or during Therapy while attempting to update the information in the Mouthpiece. |
|  | This screen is displayed if the Mouthpiece has been used too many times. |
|  | This screen is displayed if the Mouthpiece successfully completed a Therapy within the last 12 hours. |
|  | This screen is displayed whenever a system error has been detected. The number “01” is replaced with the appropriate Error Code.  This screen is displayed when mouthpiece is detached during operation |