Normal Operation – Good

System Error Path

* “Control Unit” changed to “System error”

Mouthpiece Reading Error Occurs During “Reading…” phase – Good

Mouthpiece Reading Error Occurs During “Reading…” phase – Good

Mouthpiece Reading Error Occurs During Operation phase – Good

Mouthpiece Reading determines that the MCA is expired – Good

MCA is removed in “S/N MCAx#### press PLAY if correct” OR “READY Press PLAY” – Good

MCA is removed during operation – Good

Time Stamp Error

* NEW SLIDE
* Simulation already shows flow, but no flow chart existed
* New wording “MOUTHPIECE ALREADY USED TODAY”

Mouthpiece paused and LCU shutdown during operation phase

* NEW SLIDE
* Need to add sequence
  + Power LCU on
  + Confirm serial number
  + Press play/pause to resume therapy
  + Press play to go to paused screen
  + Press play to resume normal operation
* “Press play/pause to resume therapy” is new to flow

Standby

* New bubbles need to go to standby mode
* Arrow added from paused to go to standby mode
* Want to see a standby button to see how the flow operates